## Sheet1
label | datatype & description
Function Location ID | string
SAP Function Location | string
Building Name | string
Building Number | string
Facility Type | string
Function | string
Macro Area | string
Micro Area | string
Proponent | string
Zone | string
HVAC Type | dropdown with the following options. Select the type of AC from the below. (You can select multiple options) Window Split Casette Duct Concealed Free Standing Other : enter the type
Sprinkler | radio button Yes: Fire Sprinkler Installed No: Fire Sprinkler not Installed
Fire Alarm | Yes: Fire Alarm Installed No: Fire Alarm not installed
Power Source | multiple select option What is the voltage of power, Select multiple options if required. 110 V 220 V 380 V 480 V
VCP Status | radio button Programmed for VCP implementation or not? Completed: Finished Inprogress: Ongoing Not Applicable: not covered under VCP program Planned: mention the date ion next column
VCP Planned Date | Calendar Mention the date if it is planned
Smart Power Meter Status | Radio button Availabllity of Smart Power Meter in the Facility Yes: if installed No: Not Installed
EIFS (Exterior Insulation Finish System) | radio button Available or not Yes: if available No: Not Available
EIFS installed year | radio button If yes identify the year installed
Exterior Cladding Condition | rating EIFS Condition Poor below 25 Average 25 to 50 good 50 to 75 Excellent 75 to 100
Interior Achitectural Condition | Rating Condition of Paint, Gypsum board, Doors, ETC Poor below 25 Average 25 to 50 good 50 to 75 Excellent 75 to 100
Fire Protection System Obsellete | radio button Obsollete Not Obsellete
HVAC Condition | select the number Number of obsolllete HVAC equipment
Electrical Condition | select the number Number of obsolllete Electrical equipment
Roofing Condition | rating Water Proofing Poor below 25 Average 25 to 50 good 50 to 75 Excellent 75 to 100
Water Proofing Warranty | radio button Availability Yes or No if yes reflect expiry date
Water Proofing Warranty Date | calendar
if full inspection is completed | radio yes no
Note on A2: Munawar Ahmed, Zeeshan Faraz: